# Engineering Project Summary

Arduino HX711 Digital Weighing Scale — Professional Firmware Redesign

# 1. Original Project Overview

The original project implemented a digital weighing scale using an Arduino Uno, HX711 ADC module, load cell, and 16x2 I2C LCD display. The system measured weight, averaged readings, and displayed values on the LCD.

# 2. Problems and Limitations

The original firmware used blocking delays, monolithic code structure, poor modularity, limited scalability, and weak error handling. Responsiveness and maintainability were major issues.

# 3. Major Improvements Implemented

The redesign introduced non-blocking scheduling using millis(), explicit state-machine logic, modular functions, retry-based sensor recovery, better variable scope management, and improved diagnostic output.

# 4. Code Architecture Improvements

The project was restructured into layered modules including hardware abstraction, signal processing, state management, presentation, and scheduling. This improved maintainability and scalability.

# 5. Hardware and System-Level Improvements

Adaptive sampling, improved timing analysis, sensor recovery logic, and improved user feedback sequencing were added to increase reliability and usability.

# 6. Debugging and Optimization Process

The redesign process involved timing analysis, control-flow tracing, retry boundary analysis, state-machine formalization, and variable scope debugging.

# 7. Embedded Systems Concepts Applied

The project applied concepts such as finite state machines, non-blocking scheduling, circular buffers, separation of concerns, graceful degradation, hardware abstraction, and adaptive sampling.

# 8. Final System Capabilities

The improved system supports responsive measurement, explicit operating states, adaptive sampling, structured fault handling, rich serial diagnostics, and modular firmware architecture.

# 9. Engineering Lessons Learned

The project demonstrated the importance of non-blocking firmware, proper architecture, timing analysis, structured error handling, and modular design in embedded systems.

# 10. Technologies and Components Used

Hardware: Arduino Uno, HX711, Load Cell, 16x2 I2C LCD.
Libraries: HX711.h, LiquidCrystal_I2C.h.
Protocols: I2C, UART, custom serial clock interface.

# Original Claude-Generated Documentation Script

The following JavaScript code was used to generate the detailed engineering documentation using the docx library.